## Blad1
Intermittent Technology / QuinLED.info | LED power usage charts |  | General information
2024-03-28 | 24v - v1.06 |  | All LED strips: | All LED strips power fromt front only (unless otherwise stated)
Most strips purchased from BTF-Lighting
All tests run through QuinLED-Dig-Uno, QuinLED-Dig-Quad or Dig-Octa |  |  |  | All measurements taken after being set 15s
WLED on ESP8266/ESP32
See http://quinled.info/2020/03/12/digital-led-power-usage/
Power supply idle | 5v | 4.3 | Watt
QuinLED | 5v | 0.4 | Watt
Idle Total | 5v | 4.7 | Watt
(PSU Idle + QuinLED Idle)
| 5050 LED strip | [6 empty] | COB LED strip |  |  | White (COB) LED strip
LED Strip | Single Addressable | Per 3 Addressable | Per 6 Addressable | Per 6 Addressable | Per 6 Addressable | Per 6 Addressable | Per 6 Addressable | Per 12 Addressable | Per 14 Addressable | Per 12 Addressable
LEDs/m | 60 | 120 | 60 | 60 | 60 | 60 | 60 | 240 (720) | 192 (768) | 240 (720) | 240 (420) | 320 (640)
Total LEDs | 300 | 600 | 300 | 300 | 300 | 300 | 300 | 1200 ( 3600) | 960 (3840) | 1200 ( 3600) | 1200 (2400) | 1600 (3200)
Addressable zones | 300 | 100 | 50 | 50 | 50 | 50 | 50 | 100 | 68 | 50 | 150 | 60
Voltage (Power Usage in Watt) | 24v | 24v | 24v | 24v | 24v | 24v | 24v | 24v | 24v | 24v | 24v | 24v
Chipset | sk6812 | WS2811 | SK6812 | TM1814 | WS2814 | ws2805 | fw1906 | WS2811F | WS2814F | WS2811F | WS2811F | WS2811F
Length | 5m | 5m | 5m | 5m | 5m | 5m | 5m | 5m | 5m | 5m | 5m | 5m
Notes | Always uses max power | Double wide! | RGBW! | RGBW! | RGBW! | RGB+CCT | RGB+CCT | COB-RGB | COB-RGBW! | COB-RGB | Single White | Dual White
[5 empty] | 2 injections | 2 injections | 2 injections | 5cm zones | 7cm zones | 10cm zones
[6 empty] | WLED v0.15+ | WLED v0.15+ |  |  | IP68
(if for dual white, measured for warm) CRI | N/A | N/A |  |  |  | 92.7 | 87 | N/A |  | N/A
(if for dual white, measured for warm) R9 | N/A | N/A |  |  |  | 65 | 28 | N/A |  | N/A
PWM | Not Measured | Not Measured | Not Measured | Not Measured | Not Measured | 4000Hz | 3000Hz | Not Measured | Not Measured | Not Measured | Not Measured | Not Measured
LEDs Off | 52.7 | 18.86 | 5.46 | 17.68 | 8.35 | 7.06 | 7.2 | 7.44 | 8.8 | 6.9 | 10.62 | 7.12
LEDs Pure Red 100% | 52.7 | 58.9 | 17.44 | 40.17 | 27.53 | 26.64 | 31.5 | 46.09 | 34.64 | 25.6 | 28.16 | 23,75 (WW)
LEDs Pure Red 50% | 52.7 | 39.1 | 11.73 | 28.9 | 17.54 | 17.42 | 19.7 | 26.2 | 21.03 | 16.23 | 19.52 | 15.71
LEDs Pure Green 100% | 52.7 | 58.25 | 17.45 | 45.7 | 27.5 | 26.5 | 31.58 | 45.3 | 35.29 | 25.54 | 28.16 | 22,61 (CW)
LEDs Pure Green 50% | 52.7 | 38.58 | 11.72 | 31.24 | 17.52 | 16.27 | 19.74 | 25.7 | 21.42 | 16.23 | 19.52 | 15.22
LEDs Pure Blue 100% | 52.7 | 55.91 | 17.45 | 45.88 | 27.52 | 26.29 | 31.5 | 41.5 | 34.91 | 25.75 | 28.16 | N/A
LEDs Pure Blue 50% | 52.7 | 37.6 | 11.73 | 31.32 | 17.56 | 17.11 | 19.7 | 24 | 21.28 | 16.3 | 19.53 | N/A
LEDs RGB White 100% | 52.7 | 117.9 | 38.63 | 94.58 | 65.35 | 65.02 | 77.25 | 112.2 | 85.38 | 60.02 | 61.9 | 39.67
LEDs RGB White 50% | 52.7 | 72.87 | 22.42 | 55.6 | 35.23 | 36.74 | 43.02 | 59 | 45.28 | 33.32 | 36.45 | 23.87
LEDs (No-RGB)W White 100% (Single or Warm) | N/A | N/A | 28.5 | 45.61 | 27.44 | 27.09 | 31.4 | N/A | 35.06 | N/A | N/A | N/A
LEDs (No-RGB)W White 50% (Single or Warm) | N/A | N/A | 16.16 | 18.9 | 17.51 | 17.35 | 19.64 | N/A | 21.27 | N/A | N/A | N/A
LEDs (No-RGB)W White 100% (Cold) | N/A | N/A | N/A | N/A | N/A | 27.15 | 31.42 | N/A | N/A | N/A | N/A | N/A
LEDs (No-RGB)W White 50% (Cold) | N/A | N/A | N/A | N/A | N/A | 17.38 | 19.66 | N/A | N/A | N/A | N/A | N/A
LEDs RGB White + W 100% | N/A | N/A | 58.65 | 115.3 | 84.17 | 83.01 | 101.1 | N/A | 111.2 | N/A | N/A | N/A
LEDs RGB White + W 50% | N/A | N/A | 24 | 56.8 | 44.08 | 45.7 | 55.17 | N/A | 57.44 | N/A | N/A | N/A
Effect 1 (Police All) 100% | N/A | 58.3 | 17.4 | 43.24 | N/A | N/A | N/A | 43.8 | N/A | N/A | N/A | N/A
Effect 1 (Police All) 50% | N/A | 38.4 | 11.74 | 28.58 | N/A | N/A | N/A | 24.3 | N/A | N/A | N/A | N/A
WLED v14 - Flow 100% | 52.7 | N/A | N/A | N/A | 27.02 | 27.61 | 31.84 | N/A | 34.06 | 25.41 | 28.52 | 19.42
WLED v14 - Flow 50% | 52.7 | N/A | N/A | N/A | 16.8 | 17.55 | 19.92 | N/A | 20.24 | 15.5 | 19.72 | 13.45
Effect 2 (Loading/Default (Orange)) 100% | N/A | 49.85 | 17.56 | 46.42 | N/A | N/A | N/A | 35.2 | N/A | N/A | N/A | N/A
Effect 2 (Loading/Default (Orange)) 50% | N/A | 34.5 | 11.81 | 30.12 | N/A | N/A | N/A | 19.83 | N/A | N/A | N/A | N/A
WLED v14 - Sine 100% | 52.7 | N/A | N/A | N/A | 19.46 | 19.9 | 22.41 | N/A | 23.8 | 18.02 | 21.59 | 17.76
WLED v14 - Sine 50% | 52.7 | N/A | N/A | N/A | 13.25 | 13.53 | 15.02 | N/A | 15.31 | 11.92 | 16.17 | 12.53
Effect 3 (Rainbow) 100% | 52.7 | 57.2 | 17.25 | 42.9 | 26.52 | 26.99 | 31.65 | 42.4 | 33.6 | 24.95 | 28.04 | 18.11
Effect 3 (Rainbow) 66% | 52.7 | 46.2 | 13.59 | 33.41 | 19.95 | 20.47 | 23.6 | 30 | 24.58 | 18.62 | 22.32 | 14.58
Effect 3 (Rainbow) 33% | 52.7 | 30 | 8.83 | 22.85 | 13.35 | 13.85 | 15.47 | 17.28 | 15.57 | 12.06 | 16.51 | 10.94
Injection Suggestion
(Numbers are for Front + End Injection!)
Inject per xxx LEDs for full RGB White | 2 strips | 2 strips | 2 strips | 2 strips | 2 strips | 2 strips | 2 strips | 2 strips | 2 strips | 2 strips | 2 strips | 2 strips
Inject per xxx LEDs for Color/Effects | 2 strips | 2 strips | 3 strips | 2 strips | 2 strips | 3 strips | 3 strips | 3 strips | 3 strips | 3 strips | 2 strips | 2 strips
[7 empty] | Boots up White! |  |  |  | Does not display a lot of | Does not display a lot of
[7 empty] | White without data signal |  |  |  | effects correctly in WLED | effects correctly in WLED