## Blad1
Intermittent Technology / QuinLED.info | LED power usage charts |  | General information
2023-10-10 | v1.05 |  | All LED strips: | All strips power injected at front + middle + end!
Most strips purchased from BTF-Lighting
All tests run through QuinLED-Dig-Uno or QuinLED-Dig-Quad |  |  |  | All measurements taken after being set 15s
WLED on ESP8266/ESP32
See http://quinled.info/2020/03/12/digital-led-power-usage/
Power supply idle | 5v | 4 | Watt
QuinLED | 5v | 0.4 | Watt
Idle Total | 5v | 4.4 | Watt
(PSU Idle + QuinLED Idle)
| 5050 LED strip |  |  |  | COB LED strip |  |  |  |  | LED Pixels
LED Strip | Single Addressable | Single Addressable | Single Addressable | Single Addressable | Single Addressable | Single Addressable | Single Addressable | Single Addressable | Single Addressable | Single Addressable | Single Addressable | Legenda:
LEDs/m | 60 | 60 | 60 | 60 | 60 | 100 | 160 | 240 | 332
Total LEDs | 300 | 300 | 300 | 300 | 300 | 500 | 800 | 1200 | 1660 | 100 | 100 | Highest 5v
Addressable zones | 300 | 300 | 300 | 300 | 300 | 500 | 800 | 1200 | 1660 | 100 | 100 | Lowest 5v
(Power Usage in Watt) | 5v | 5v | 5v | 5v | 5v | 5v | 5v | 5v | 5v | 5v | 5v
| WS2812b | WS2812b-Eco | SK6812 | APA102 | WS28xx | WS28xx | WS28xx | WS28xx | SK6812 RGB | WS2811 | SK6812
Length | 5 meters | 5 meters | 5 meters | 5 meters | 5 meters | 5 meters | 5 meters | 5 meters | 5 meters* |  | WWA
Notes | [7 empty] | (slightly power limited | (measured 2m, extrapolated)
| 10mm wide | 10mm wide | 10mm wide | 10mm wide | 5mm wide | 5mm wide | 5mm wide | 10mm wide | 10mm wide
LEDs Off | 5.9 | 5 | 6.3 | 6.43 | 5.41 | 5.6 | 6.77 | 7.85 | 17 | 6.2 | 6.31
LEDs Pure Red 100% | 25.54 | 23.9 | 21.2 | 34.55 | 14.46 | 19.66 | 29.9 | 42.02 | 64.76 | 14.9 | (Cool White) 11,88
LEDs Pure Red 50% | 15.1 | 13.5 | 13.2 | 21.4 | 9.98 | 13.03 | 18.6 | 25.31 | 66.8 | 9.17 | 8.37
LEDs Pure Green 100% | 25.5 | 23.1 | 21.2 | 34.5 | 13.77 | 19.59 | 28.24 | 39.54 | 64.875 | 14.91 | (Amber) 11,87
LEDs Pure Green 50% | 15 | 13 | 13.1 | 21.1 | 9.64 | 12.96 | 17.76 | 24.03 | 41.8 | 9.17 | 8.37
LEDs Pure Blue 100% | 25.5 | 14.2 | 21.2 | 34 | 14.42 | 19.43 | 29.59 | 41.57 | 64.75 | 14.88 | (Warm White) 11,91
LEDs Pure Blue 50% | 15.4 | 9.1 | 13.3 | 20.9 | 9.91 | 12.88 | 18.45 | 25.1 | 41.75 | 9.21 | 8.38
LEDs RGB White 100% | 65 | 46.8 | 49 | 88.1 | 31.33 | 39.63 | 68 | 99.04 | 150 | 29.74 | 25.68
LEDs RGB White 50% | 33.9 | 24.8 | 26.3 | 45.4 | 18.62 | 25.41 | 40.23 | 57.64 | 85.55 | 19.19 | 15.57
LEDs (No-RGB)W White 100% | N/A | N/A | 35.3 | N/A | N/A | N/A | N/A | N/A | N/A | N/A
LEDs (No-RGB)W White 50% | N/A | N/A | 20.1 | N/A | N/A | N/A | N/A | N/A | N/A | N/A
LEDs RGB White + W 100% | N/A | N/A | 76.2 | N/A | N/A | N/A | N/A | N/A | N/A | N/A
LEDs RGB White + W 50% | N/A | N/A | 39.4 | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Effect 1 (Police All) 100% | 25.5 | 18.6 | 21.2 | 34.5 | N/A | N/A | N/A | N/A | 64.625 | 14.8 | 11.88
Effect 1 (Police All) 50% | 15.4 | 11.3 | 13.4 | 20.2 | N/A | N/A | N/A | N/A | 42
WLED v14 - Flow 100% | N/A | N/A | N/A | N/A | 14.69 | 20.16 | 30.45 | 42.83 | N/A
WLED v14 - Flow 50% | N/A | N/A | N/A | N/A | 10.09 | 13.32 | 18.92 | 25.68 | N/A | 9.2 | 8.37
Effect 2 (Loading/Default (Orange)) 100% | 11 | 9.4 | 10.1 | 14.5 | N/A | N/A | N/A | N/A | 22.05 | 11.51 | 10.1
Effect 2 (Loading/Default (Orange)) 50% | 8.2 | 6.9 | 8 | 10 | N/A | N/A | N/A | N/A | 19.8
WLED v14 - Sine 100% | N/A | N/A | N/A | N/A | 11.1 | 14.93 | 21.42 | 29.38 | N/A
WLED v14 - Sine 50% | N/A | N/A | N/A | N/A | 8.31 | 10.46 | 14.21 | 18.85 | N/A | 7.93 | 7.82
Effect 3 (Rainbow) 100% | 25.5 | 19.6 | 21 | 34.2 | 14.41 | 19.71 | 29.37 | 41.35 | 64.65 | 14.2 | 11.75
Effect 3 (Rainbow) 66% | 18.4 | 13.9 | 15.7 | 25.1 | 11.38 | 15.42 | 22.12 | 30.41 | 50.1 | 10.64 | 9
Effect 3 (Rainbow) 33% | 11.5 | 8.4 | 10.5 | 14.5 | 8.41 | 10.72 | 14.58 | 19.38 | 27.7 | 7.1 | 7.24
Injection Suggestion
(Numbers are fot Front + End Injection!)
Inject per xxx LEDs for full RGB White | 1 strip | 1 strip | 1 strip | 1 strip | Per 5 meter | Per 4 meter | Per 2,5 meter | Per 1 meter | Per 1 meter | 100 | 100
Inject per xxx LEDs for Color/Effects | 1strip | 1 strip | 1 strip | 1 strip | Per 5 meter | Per 5 meter | Per 5 meter | Per 2,5 meter | Per 2,5 meter | 200 | 150
(Results extrapolated
real usage probably a bit lower)