## Blad1
Intermittent Technology / QuinLED.info | LED power usage charts |  | General information
2020-09-18 | v1.01 |  | All LED strips: | 60LEDs/m | and/or | 300LEDs total | (unless otherwise noted!)
Power injection begin + end
All tests run through QuinLED-Dig-Uno or QuinLED-Dig-Quad |  |  |  | Most strips purchased from BTF-Lighting (NOT: APA102)
WLED on ESP8266/ESP32 |  |  |  | All measurements taken after being set 15s
See http://quinled.info/2020/03/12/digital-led-power-usage/
Idle Total | 12v | 1.58 | Watt | Idle |  |  | 12v | 1.12 | Watt | Idle | 12v | 0.46 | Watt
(PSU Idle + QuinLED Idle)
LED Strips | Single Addressable | Single Addressable | Single Addressable | Per 3 Addressable | Per 3 Addressable | Per 3 Addressable | Per 3 Addressable | Per 3 Addressable |  | LED Pixels | Single Addressable |  |  | Legenda:
Total LEDs | 300 | 300 | 300 | 300 | 480 | 480 | 720 | 300 |  |  | 100
Addressable zones | 300 | 300 | 300 | 100 | 160 | 160 | 240 | 100 |  |  | 100
(Power Usage in Watt) | 12v | 12v | 12v | 12v | 12v | 12v | 12v | 12v |  |  | 12v |  |  | Highest 12v
| WS2815 | BTF2815 (ucs1903) | GS8208 | WS2811 | WS2811 | WS2811 | WS2811 | SK6812 RGBW |  |  | WS2811 |  |  | Lowest 12v
LEDs per meter | 60 | 60 | 60 | 60 | 96 | 96 | 144 | 60 |  |  | 60
Notes |  |  | *interpolated from 1m/60LEDs |  | Normal variant | High-Power/Bright variant |  | Warm White |  |  | Regulated
LEDs Off | 9.7 | 10.3 | --- | 7.84 | 8.5 | 8.7 | 10.7 | 11.12 |  |  | 7.48 |  |  | Simple conclusions:
- ws2812b-eco uses the least amount of power
LEDs Pure Red 100% | 51 | 47.02 | 61.75 | 30.72 | 40 | 40.8 | 57.4 | 23.22 |  |  | 28.5
LEDs Pure Red 50% | 27.9 | 28.03 | 28.5 | 19.21 | 24.2 | 24.2 | 33.6 | 13 |  |  | 17.3 |  |  | - 12v strip is easier to wire, but per 1 addressable will waste a lot of power!
LEDs Pure Green 100% | 50.4 | 46.83 | 62.2 | 30.72 | 40.6 | 40.6 | 59.15 | 23.25 |  |  | 28.48 |  |  | - 12v strip like the ws2815 burn off power per LED when not full white, so is very inefficient
LEDs Pure Green 50% | 27.4 | 27.97 | 28.5 | 19.22 | 24.5 | 24.1 | 33.8 | 13 |  |  | 17.31
LEDs Pure Blue 100% | 50 | 46.55 | 62.85 | 30.58 | 40.6 | 41 | 59 | 23.31 |  |  | 28.48 |  |  | - sk6812 is the only strip with dedicated white LED
LEDs Pure Blue 50% | 28 | 27.95 | 28.5 | 19.17 | 23.3 | 24.3 | 33.8 | 13.08 |  |  | 17.33
- GS2808 is interpolated and measurements might be incorrect (a bit too high)
LEDs RGB White 100% | 48.6 | 46.69 | 61 | 75 | 97.8 | 101 | 135 | 46.34 |  |  | 67.2 |  |  | - LEDs do look brighter then other strips
LEDs RGB White 50% | 27 | 28.07 | 27.6 | 41.41 | 53.5 | 54.2 | 76.34 | 16.5 |  |  | 35.95
LEDs (No-RGB)W White 100% | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 35
LEDs (No-RGB)W White 50% | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 14.65
LEDs RGB White + W 100% | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 68
LEDs RGB White + W 50% | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 19.49
Effect 1 (Police All) 100% | 50 | 46.84 | 63.05 | 30.5 | 40.1 | 40.5 | 58 | 23.17 |  |  | 28.16
Effect 1 (Police All) 50% | 28 | 28.43 | 28.5 | 19.18 | 24.1 | 24.2 | 33.7 | 16.8 |  |  | 17.27
Effect 2 (Loading/Default (Orange)) 100% | 17.9 | 18.91 | 25 | 25.25 | 20.5 | 23.7 | 25.6 | 20.42 |  |  | 22
Effect 2 (Loading/Default (Orange)) 50% | 13.1 | 14.81 | 22 | 16.5 | 15.2 | 15.5 | 17.3 | 15.46 |  |  | 13.92
Effect 3 (Rainbow) 100% | 39.4 | 37.8 | 43.9 | 30.36 | 38.7 | 38.9 | 56.1 | 23.12 |  |  | 27.2
Effect 3 (Rainbow) 66% | 27.9 | 28.74 | 29 | 22.12 | 28.6 | 27.9 | 36.7 | 19.33 |  |  | 18.48
Effect 3 (Rainbow) 33% | 17 | 18.3 | 22.15 | 13.42 | 15.2 | 14.8 | 19.6 | 14.45 |  |  | 11.95
Injection Suggestion
(Numbers are fot Front + End Injection!)
Inject per xxx LEDs for full RGB White | 2 strips | 2 strips | 2 strips | 2 strips | 2 strips | 2 strips | ? | 2 strips |  |  | 200
Inject per xxx LEDs for Color/Effects | 2 strips | 2 strips | 2 strips | ~3 strips | 2 strips | 2 strips | ? | 2 strips |  |  | 300